## Audit Questions
Audit Title |  | Audit of National Guideline for Infection Prevention and Control in HSE Dental and Orthodontic Services | QTR1 | QTR2 | QTR3 | QTR4
Question No. | SOP No. | Please answer the audit questions below | Indicate Compliance | Indicate Compliance | Indicate Compliance | Indicate Compliance | Comments | Action required? Yes/No | Action Details
Question1 | General | Have all staff have signed the declaration that s/he has read and understands the HSE National Guideline for Infection Prevention & Control in HSE Dental and Orthodontic Services?
Question2 | General | Are staff aware of how to report breaches of infection control protocols and to whom?
Question3 | General | Is infection control a rolling item on staff meeting agendas?
Question4 | General | Are standard precautions carried out routinely for all patients (observation)?
Question5 | General | Are staff aware of situations which may require transmission-based(risk -based patients with active infections such as measles, influenza or TB) precautions?
Question6 | SOP 1 | Are all staff up to date with mandatory Hand Hygiene Training?
Question7 | SOP 1 | Is there a dedicated Hand Hygiene sink in each surgery and LDU room? (equipped with HSE approved liquid soap, paper towel dispensers, and foot operated non clinical waste bin)?
Question8 | SOP 1 | Is Alcohol Based Hand Rub available, in date and available at point of care?
Question9 | SOP 1 | Are cuts or open wounds covered with a waterproof dressing?
Question10 | SOP 1 | Are all clinical staff 'bare below the elbow (plain wedding type band allowed)?
Question11 | SOP 1 | Are all staff familiar with WHO 5 moments for Hand Hygiene?
Question12 | SOP 1 | Are there laminated Hand Hygiene posters on display over each hand hygiene sink?
Question13 | SOP 1 | Are HSE approved hands cream dispensers with disposable cartridges available for all clinical and decontamination staff?
Question14 | SOP 2 | Are respiratory hygiene posters displayed?
Question15 | SOP 2 | Are pedal bins available for disposal of soiled tissues?
Question16 | SOP 3 | Do staff remove uniform prior to leaving the building?
Question17 | SOP 3 | Do staff wear appropriate footwear i.e. closed in shoes?
Question18 | SOP 3 | Are mobile phones on display in the dental surgery?
Question19 | SOP 3 | Have all staff completed the online HSEland programmes Good Information Practice and the Fundamentals of GDPR?(auditors to check training records)
Question20 | SOP 3 | Are staff aware of patient confidentiality e.g. are desktop computers locked when left unattended?
Question21 | SOP 4 | Have all staff been advised of benefit and facilitated in receiving annual flu vaccine?
Question22 | SOP 4 | Have all staff signed the declaration that s/he has read and understands the HSE Policy for the Safe Use, Handling & Disposal of Sharps?
Question23 | SOP 5 | Is Personal Protective Equipment (PPE) available in clinical areas/LDU room i.e. masks (surgical masks and respirators), task specific gloves, plastic aprons, visors?
Question24 | SOP 5 | Is task appropriate PPE worn when exposure to blood and body fluids is expected?
Question25 | SOP 5 | Do staff use appropriate PPE during all stages of decontamination process?
Question26 | SOP 5 | Are gloves removed as soon as clinical treatment is completed or as appropriate?
Question27 | SOP 5 | Are sterile gloves worn when a sterile field is necessary?
Question28 | SOP 5 | Do all staff wear protective eyewear where there is potential for penetrating injury, exposure to aerosols and splatter?
Question29 | SOP 5 | Are patients provided with protective eyewear at all times?
Question30 | SOP 5 | Is reusable protective eyewear cleaned with combined detergent/disinfectant wipe or as per manufacturer's instructions?
Question31 | SOP 5 | Are surgical masks recognised as single use items?
Question32 | SOP 5 | Are surgical masks used for all dental procedures (is a respirator mask worn when transmission based (airborne) precautions are necessary)?
Question33 | SOP 5 | Are masks removed by touching the strings and loops only?
Question34 | SOP 5 | Have staff been trained in the use of respirator masks?
Question35 | SOP 6 | Are disposable safety syringes and needles used where possible?
Question36 | SOP 6 | Do staff ensure the sharps container has not been filled above the line?
Question37 | SOP 6 | Has the sharps container been assembled correctly and assembly details entered correctly?
Question38 | SOP 6 | Is sharps container out of reach of the public and situated off the floor ?
Question39 | SOP 6 | Is the temporary closure mechanism closed when the sharps container is not in use?
Question40 | SOP 6 | Once 3/4 full, is the sharps container aperture locked and stored securely ?
Question41 | SOP 6 | Are locked, signed, tagged and traceable to dental clinic Sharps containers stored in a designated secure(locked) collection point away from public access?
Question42 | SOP 6 | Is there a sharps container in each surgery and LDU?
Question43 | SOP 6 | Are Sharps disposed of directly into sharps container at point of use by the person who used the sharp ?
Question44 | SOP 6 | Are all Sharps disposed of in the Sharps container (e.g. Local Anaesthetic cartridges, disposable syringe body and needle unit, burs, scalpels, orthodontic wires/matrix bands/ extracted teeth/endodontic single use instruments/irrigation syringe needles)?
Question45 | SOP 6 | If applicable, is there a safe system of disposal for Orthodontic wires e.g. adhesive pads or alternative system into sharps box?
Question46 | SOP 6 | Is there a laminated poster detailing procedure to be followed in the event of an inoculation injury displayed in the surgery?
Question47 | SOP 6 | Are all staff aware that they are mandated to report sharps injuries to their local Manager and Occupational Health and to complete the National Incident Report Form (NIRF -01 Person)?
Question48 | SOP 7 | Are all staff aware of action to be taken following a splash to mucous membrane/the eye/non-intact skin?
Question49 | SOP 7 | Are staff aware of actions to be taken following a bite or scrape?
Question50 | SOP 8 | Is the overall appearance of the clinical and decontamination environment tidy ,uncluttered and free from obvious dust and visible dirt?
Question51 | SOP 8 | Is cleaning equipment stored in a non clinical area and reusable equipment, cleaned and allowed to dry before reuse?
Question52 | SOP 8 | Are all chemicals stored in a labelled, locked cupboard/room?
Question53 | SOP 8 | Are all chemicals in use in date?
Question54 | SOP 8 | Are Material Safety Data Statement (MSDS) available for instrument cleaning and environmental cleaning products?
Question55 | SOP 8 | Are clean and contaminated zones clearly demarcated and is there adequate separation between them?
Question56 | SOP 8 | Is there a Dental Surgery Cleaning Checklist for cleaning staff for each dental surgery/LDU?
Question57 | SOP 8 | Are all difficult to clean, noncritical patient care items barrier protected during use?
Question58 | SOP 8 | Are general work surfaces outside contaminated area cleaned/disinfected after each session and when visibly soiled?
Question59 | SOP 8 | Are surfaces in the contaminated area decontaminated after each patient?
Question60 | SOP 8 | Are non-barrier protected spittoons cleaned after every patient if in use?
Question61 | SOP 8 | Are all staff aware of procedure to follow if there is a spillage of blood, vomit, faeces or urine?
Question62 | SOP 8 | Are reusable instrument trays decontaminated between patients?
Question63 | SOP 8 | Are keyboard covers/wipeable keyboards used in clinical areas?
Question64 | SOP 8 | Is there a sterile oral surgery kit available (contains sterile drapes, gloves, instruments, sterile aspirator tips)?
Question65 | SOP 9 | Is there single patient use sterile water for irrigation available?
Question66 | SOP 9 | Are staff familiar with the universal single use only sign?
Question67 | SOP 9 | Are single use devices used for one patient only?
Question68 | SOP 10 | Where decontamination of RIMD takes place in the clinical area, is the decontamination area clearly indicated and separate from the clinical area?
Question69 | SOP 10 | Have all staff received training in the decontamination process to include cleaning,disinfection,inspection,packaging,disposal,steralisaton, tagging, transport and storage of RIMD?
Question70 | SOP 10 | Are secure, leak-proof boxes available for contaminated instruments?
Question71 | SOP 10 | Are transport boxes marked contaminated instruments and/or colour coded?
Question72 | SOP 10 | Are instruments kept in a moist environment to prevent drying?
Question73 | SOP 10 | Is gross soil/ cement removed from instruments by wiping at chair side using one handed technique?
Question74 | SOP 10 | Are there instrument (duck) bags available for use if required ?
Question75 | SOP 10 | (UC) Is there a printer attached to Ultrasonic Cleaner (UC)?
Question76 | SOP 10 | (UC) Is the Ultrasonic Cleaner cycle time not less than 5 minutes?
Question77 | SOP 10 | (UC) Is the Ultrasonic Cleaner degassed before use and after solution change?
Question78 | SOP 10 | (UC) Is the enzymatic cleaning solution changed every four hours and/or more frequently if visibly contaminated? Is this recorded?
Question79 | SOP 10 | (UC) Is the correct amount of enzymatic cleaner used (according to manufacturer's instructions) in the Ultrasonic cleaner?
Question80 | SOP 10 | (UC) Are instruments rinsed after cleaning?
Question81 | SOP 10 | (UC) Is weekly load test carried out and recorded?
Question82 | SOP 10 | (UC) Is there a record of Quarterly test (Ultrasonic Activity) results?
Question83 | SOP 10 | (UC) Are yearly validation records available?
Question84 | SOP 10 | (UC) Are instruments inspected for residue post cleaning using task lighting?
Question85 | SOP 10 | (UC) Is the Ultrasonic Cleaner cleaned and dried daily?
Question86 | SOP 10 | (WD)Is there a record of daily checks for free spray arm rotation, clean filters and level of detergent?
Question87 | SOP 10 | (WD)Are load check and residual protein tests carried out weekly?
Question88 | SOP 10 | (WD)Are annual validation and servicing records available?
Question89 | SOP 10 | (WD) Are cycle parameters for disinfection (90C for 60sec) and cleaning (instruments checked under task lighting for any residues) noted, recorded, signed off and stored with the WD cycle records?
Question90 | SOP 10 | Are instruments inspected for residue post cleaning under task lighting ?
Question91 | SOP 10 | Are instruments that are found on inspection to have adherent residual soil returned to cleaning process?
Question92 | SOP 10 | Are all items that have been cleaned checked for dryness before autoclaving?
Question93 | SOP 10 | Are dental handpiece connector filters changed according the manufacturer's advice?
Question94 | SOP 10 | Are dental handpieces washed in washer-disinfector and lubricated with oil before steam sterilisation?
Question95 | SOP 10 | Are those manually cleaned, lubricated using an automatic cleaning system for dental handpieces?
Question96 | SOP 10 | Are dental handpieces which have been used, flushed for between 15-30 seconds between patients?
Question97 | SOP 10 | Are Ultrasonic scaler handpieces and scaler inserts cleaned and sterilised after each patient use?
Question98 | SOP 10 | (AC) Are all autoclave sterilisation pouches examined today intact and dry (folded on perforation and sealed securely to maintain integrity of the pouch)?
Question99 | SOP 10 | (AC) Have indicators on packs changed colour?
Question100 | SOP 10 | (AC) Does the pouch have a label recording the date of sterilisation, cycle number and autoclave serial number?
Question101 | SOP 10 | (AC) Does the pouch have a label recording the (UC Cycle No. UC Serial No. where printer available)WD Cycle No and WD Serial No. where available?
Question102 | SOP 10 | (AC) Is there a written protocol available to staff stating steps to take if there is an autoclave cycle failure (e.g. failure to start, stopping mid cycle, process parameters not achieved)?
Question103 | SOP 10 | (AC) In the event of printer failing to print cycle output immediately (printer might be powered off, out of ribbon/ink), do staff know how to print cycle records in retrospect?
Question104 | SOP 10 | (AC) Are annual servicing, repair and validation records available?
Question105 | SOP 10 | (AC) Are pressure testing records available?
Question106 | SOP 10 | (AC) Are instrument pouches placed in the autoclave to allow for complete air removal, steam penetration and drying of instruments?
Question107 | SOP 10 | (AC) Are autoclave doors and seals checked daily (according to manufacturer's instructions)?
Question108 | SOP 10 | (AC) Are all process logs associated with each autoclave retained and stored in an accessible location?
Question109 | SOP 10 | (AC) Before being placed in storage, are sterilised instrument packs placed in a clean area to cool, away form the possibility of aerosol/splatter cross contamination?
Question110 | SOP 10 | (AC) Is there a labelling gun specific to each autoclave?
Question111 | SOP 10 | (AC) Do a sample of labels examined today on instrument packs and patient records have details entered correctly i.e. To include label showing UC cycle No. and UC serial No.(if printer fitted) Or WD cycle no and WD Serial No.(where used) cycle no., date and an assigned autoclave serial number?
Question112 | SOP 10 | Vacuum Test (VT) a) Is a Vacuum Test carried out as the first cycle performed on an empty, cold autoclave (manufacturers will indicate if a warm up cycle is needed) on the first day it is used each week?
Question113 | SOP 10 | Vacuum Test (VT) b) Is the printout legible and parameters highlighted?
Question114 | SOP 10 | Vacuum Test (VT) c) Were cycle parameters achieved i.e. (Leak rate at or below 1.3mbar)?
Question115 | SOP 10 | Vacuum Test (VT) d) Are records of staff signoff available?
Question116 | SOP 10 | Steam Penetration Test a) Are steam penetration tests carried out daily in an empty chamber at the first cycle of the day (manufacturers will indicate if a warm up cycle is needed) ?
Question117 | SOP 10 | Steam Penetration Test: b) Is the resulting printout signed and legible?
Question118 | SOP 10 | Steam Penetration Test c) Were cycle parameters achieved and highlighted i.e. 134C held for a minimum of 3 minutes?
Question119 | SOP 10 | Steam Penetration Test d) Are indicators and challenge device in date?
Question120 | SOP 10 | Steam Penetration Test e) Is an unused challenge device loaded correctly?
Question121 | SOP 10 | Steam Penetration Test f) Are records of staff sign off available?
Question122 | SOP 10 | Sterilisation cycle (SC) a) Was correct cycle chosen for sterilisation of instruments (Universal programme 134C wrapped instruments)?
Question123 | SOP 10 | Sterilisation cycle (SC) b) Were there any problems with cycle reported this week and were they documented?
Question124 | SOP 10 | Are a sample of unopened instrument packs a) Dry?
Question125 | SOP 10 | Are a sample of unopened instrument packs b) Undamaged?
Question126 | SOP 10 | Are a sample of unopened instrument packs c) Sealed correctly and securely?
Question127 | SOP 10 | Are a sample of unopened instrument packs d) Has each pack a label?
Question128 | SOP 10 | Have indicators on instrument packs changed colour?
Question129 | SOP 10 | Are records of instrument track and trace archived in a secure, accessible location?
Question130 | SOP 10 | Was a trial track and trace procedure successful (5 service user's records from each location)
Question131 | SOP 10 | Is sterile, RO or distilled water used in the autoclave?
Question132 | SOP 10 | If distilled water is used is it stored in a refrigerator?
Question133 | SOP 10 | Is there documentation available showing cleaning record for water distiller?
Question134 | SOP 10 | Are RO and demineralised water filters changed according to manufactured instructions and documented?
Question135 | SOP 10 | Are RIMD pouches stored in a dedicated ,secure, dry environment with correct label and indicator change and used in strict rotation?
Question136 | SOP 10 | Are bags used in rotation and inspected to ensure they have not been compromised and are in date (12 months)?
Question137 | SOP 11 | Is X-ray equipment decontaminated after each patient?
Question138 | SOP 11 | Are exposed radiographs films transported and handled aseptically to prevent contamination of developing equipment?
Question139 | SOP 11 | Is there an X-ray solution changing log if appropriate?
Question140 | SOP 11 | Is the x-ray unit clean and free of dust?
Question141 | SOP 11 | Is a log kept of radiological waste for collection?
Question142 | SOP 11 | On receipt from the laboratory are prosthetic and orthodontic appliances disinfected prior to placing in patient's mouth??
Question143 | SOP 12 | Is the suction system cleaned/disinfected after each session ?
Question144 | SOP 12 | Are suction regulators dismantled and cleaned after each session?
Question145 | SOP 12 | Are suction filters cleaned daily?
Question146 | SOP 13 | Is a cupful of water flushed through suction system at start of day?
Question147 | SOP 13 | Is a cupful of water flushed through suction after each patient?
Question148 | SOP 13 | Are dental unit waterliness flushed for 60 seconds at the beginning and end of each clinical session?
Question149 | SOP 13 | Are dental unit waterlines treated with product according to manufacturer’s instructions?
Question150 | SOP 13 | Are dental unit waterlines tested independently for Legionella and microbial contamination annually/or more frequently ?
Question151 | SOP 13 | Are dental unit waterline bottles cleaned weekly?
Question152 | SOP 13 | Are waterlines shocked with intermittent biocide after periods of inactivity(periods in excess of 1 week)?
Question153 | SOP 14 | Is waste segregated at the point of generation?
Question154 | SOP 14 | Is a log kept of amalgam waste containers for collection?
Question155 | SOP 14 | Is all waste awaiting collection stored in a secure location?
Question156 | SOP 14 | Is Pharmaceutical waste disposed of correctly?
Question157 | SOP 16 | Have all staff who prescribe antibiotics been made aware of the HSE Antibiotic Prescribing Practice Guidelines available on www.antibiotics.ie ?
Question158 | SOP 16 | Are staff aware of procedures to follow when treating patients with multidrug resistance organisms?
Note on C8: Ryan, Deirdre M: Staff have been training by a person trained to give HH training(which includes validating competency in correct HH technique and HSEland HH programme completed ( cert available). Retraining required at 2 yearly intervals Auditors should have access to training records

## QIP Plan
Audit of National Guideline for IPC in Dental and Orthodontic Service
CHO/Orthodontic Area |  |  |  | QIPs STATUS
Dental/Orthodontic Clinic
Data Entry by |  |  |  | Completed | 0
Date of Audit |  | Qtr 1 = | Qtr 2 = | Not yet due | 0
|  | Qtr 3 = | Qtr 4 = | Late | 0
Date Survey results reviewed by PDS/Management Team/QPS committee
|  |  |  | Todays date | 2020-04-16
Note: For formulaes & graph to work: Please ensure you enter the 'Entry Date' (i.e. date that QIP is entered into the log), 'Due Date' (i.e. date that the
QIP is due for completion), and, when appropriate, the 'Completed Date' (i.e. date that QIP has been fully implemented).
Action Number | Entry Date | SOP No/Name | Description of Quality Improvement Plan (QIP) | Responsible Person | Due Date | Completed Date | QIP Status | Comments
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30